Ironmongery Specification

Product : ZDC0024

Description : Universal Door Closer Adjustable Power Size 2-4

Finish : Satin Stainless Steel Body & Arm

Testing : BS EN1154, CE Marked & Certifire Approved in Size 3

Product : ZDC003

Description : Fixed Power Size 3 Door Closer

Finish : Silver Enamel Body & Arm

Testing : BS EN1154, CE Marked & Certifire Approved in Size 3

Product : 794SHU

Description : 180 Degree door Viewer

Finish : Satin Chrome Plated

Product : ZDL7260R

Description : Euro-Profile Din Standard Mortice Sash Lock 60mm Backset, 72mm Centres

Finish : Satin Stainless Steel Faceplate & Strike

Testing : BS EN12209 : 2003 Grade 3, CE Marked & Certifire Approved

Product : ZDL0060R

Description : Euro-Profile Din Standard Mortice Deadlock , 60mm Backset

Finish : Satin Stainless Steel Faceplate & Strike

Testing : BS EN12209 Grade 3, CE Marked & Certifire Approved

Product : V10EP70CT

Description : Euro-Profile Cylinder & Turn Under master key & Construction Keyed

Finish : Satin Chrome Plated

Testing : BS-EN1303 Security Grade 2 Restricted 10 pin cylinder

Product : ZAS16SS

Description : Euro Profile Cylinder Pull

Finish : Grade 304 Satin Stainless Steel

Product : ZTLA76R

Description : 76mm Heavy Duty Tubular Latch Radius Forend

Finish : Grade 304 Satin Stainless Steel

Product : ZTDA76R

Description : 76mm Heavy Duty Tubular Deadbolt Radius Forend

Finish : Grade 304 Satin Stainless Steel

Product : ZCS160SS

Description :  19mm Lever on 52x8mm Sprung Rose

Finish : Grade 304 Satin Stainless Steel

Testing : BS EN1906 Grade 3

Product : OV6B/319SSS

Description : 300x19mm Pull Handle Bolt Through Fixing

Finish : Grade 304 Satin Stainless Steel

Testing : BS EN1634-1

Product : TTFP338SS

Description : 330x75x1.5mm Finger Plate c/w Radius Corners

Finish : Grade 304 Satin Stainless Steel

Product : ZCS001

Description : Euro-Profile Cylinder Escutcheon 52x8mm

Finish : Grade 304 Satin Stainless Steel

Product : ZCS004

Description : Bathroom Thumbturn & Emergency Release c/e Indicator 52x8mm

Finish : Grade 304 Satin Stainless Steel

Product : SHP/1003/150/SC

Description : 150x25mm Necked Barrel Bolt

Finish : Satin Chrome Plate

Product : ZAS14SSS

Description : Dust Excluding Socket

Finish : Satin Stainless Steel

Product : TT606SS

Description : 75mm Dia Sign to Read “Fire Door Keep Shut”

Finish : Satin Stainless Steel

Testing : BS 5499-4

Product : TT605SS

Description : 75mm Dia Sign to Read “Fire Door Keep Locked”

Finish : Satin Stainless Steel

Testing : BS 5499-4

Product : AJC900X150SSS

Description : Kicking Plate 150mm High

Finish : Grade 304 Satin Stainless Steel

Notes : Size Specified is Nominal, Exact Site Sizes Required